## Submission
31 Huron Preconsultation Comments
COMMENT # | COMMENT | RESPONSIBILITY | RESPONSE
Building Services Comments
1.01 | Two full sets of construction drawings are required for building department review | Information | Acknowledged
1.02 | Building Services has an e-Permit Service which allows you to submit your building permit application electronically. The information is located here http://www.coIIingwood.ca/files/B416PG-E- PermitSubmisionProcess20181105.pdf | Information | Acknowledged
1.03 | We require digital information including documents, drawings, and supporting reports. The drawings are required in AutoCAD DWG, and PDF file in release 2000 or newer. A Building Code Matrix to be completed and submitted by the owner's architect. | Information | Acknowledged
1.04 | General Review certificates are required from all Engineers and Architects involved with the design of the building(s). Letter of Undertaken required from Owner | Information | Acknowledged
1.05 | All construction to comply with the Ontario Building Code | Information | Acknowledged
1.06 | All Permit Fees and Development Charges to be paid at time of building permit being issued. Please contact the Building department for the current rates. Applicable Development Charges are as follows; a. Town of Collingwood D.C. b. Simcoe County D.C. C. Education Levy d. Black Ash Creek Development Charge (may be applicable if located in the special policy area) | Information | Acknowledged
1.07 | Nottawa Valley Conservation Authority approval may be required. If it is required, a copy of their approval must be received by the Building Department prior to any Building permits being issued. | Information | Acknowledged
1.08 | All signage must comply with the Town of Collingwood’s Sign Bylaw and a sign permit is required. | Information | Acknowledged
1.09 | Civic addressing, also known as 911, is administered by Building Services. If your project requires addressing please access The Street Naming Policy and Civic Addressing By-Law 2014-028 which is on our website http://www.collinpwood.ca/files/BL2014-028%20Civic a/ 20Addressinq 0. pdf Contact information for Lynn Gowan, Administrative Assistant with Building Services is as follows lqowan@collinpwood.ca or 705-1030 Ext. 3243 for the full details. | Information | Acknowledged
Parks, Recreation and Culture
2.01 | Standing Comments as of January 2018: Town of Collingwood Official Plan December 2011 Section 4.2 Parkland Acquisition Pursuant to the Planning Act To ensure that adequate public open space is available to meet the recreational needs of the community, Council shall require the conveyance of up to a five percent (5%) parkland dedication in the case of new residential development and up to a two percent (2%) parkland dedication in the case of new commercial or industrial development. In addition, Council may accept ‘cash-in-lieu' of parkland payment when deemed appropriate. •2% land for industrial/commercial development •5% land for residential development •Cash-in-lieu 2% or 5% The applicant shall pay Building Services a prescribed percentage of the appraised value of the lands as “Cash-in-lieu” of parkland that will be determined by an appraisal that has been completed by a professional Appraiser one day prior to Building Permit Issuance. •Mixed Use Developments: The respective rate shall be applied in the same proportion that the gross floor area of industrial/commercial uses to the gross floor area of residential uses. | Information | Parkland Dedication occurred at the time of the original Shipyards Master Development Agreement The proposed development at 31 Huron Street is not required to provide any additional parkland or cash in lieu of parkland.
Epcor
3.01 | Electrically engineered and stamped site servicing drawings using the most recent USF standards and non-linear analysis need to be supplied to EPCOR for approval prior to any construction. | Information | Acknowledged
3.02 | Electrical engineered drawings must include required transformation based on developer’s estimate of building loads. | Information | Acknowledged
3.03 | Where possible all electrical distribution within the proposed site will be of an "Underground” design / construction | Information | Acknowledged
3.04 | Developer needs to coordinate with EPCOR ASAP the scope works that EPCOR will be providing and any associated fees required. | Information | Acknowledged
3.05 | All electrical site servicing must comply with the most recent and approved version of EPCOR | Information | Acknowledged
3.06 | All electrical site servicing must comply with the most recent and approved version of EPCOR Conditions of Service and Electrical Safety Authority (ESA) regulations before system is energized. | Information | Acknowledged
3.07 | All electrical site servicing must comply with the minimum clearances as specified in the most recent USF standards. The USF standards can be obtained from EPCOR through a non-disclosure agreement. | Information | Acknowledged
3.08 | Developer is required to provide an access agreement for operation and maintenance of the electrical distribution infrastructure to the satisfaction of EPCOR prior to the system being energized. | Information | Acknowledged
3.09 | Early consultation with EPCOR metering department is a must to avoid delays and installation issues. i.e. Provide phone line & access key for metering room. | Information | Acknowledged
3.1 | Note that currently there is a minimum lead time of 18 to 24 weeks for transformers from suppliers. | Information | Acknowledged
3.11 | Once the facilities are energized and all payments for such have been completed by the Developer EPCOR will assume full ownership and responsibility for the electrical distribution system up to: | Information | Acknowledged
-The secondary load side of any residential meter base (Max 200amp)
-The secondary connection on the distribution transformer (Above 200amp)
-The primary disconnect ahead of any “Customer” owned 44kV substation
3.12 | Note: As background, the Economic Expansion calculation is made to determine the amount of investment in any expansion project that may be applicable to EPCOR. | Information | Acknowledged
3.13 | In most cases there will be a requirement to complete an Economic Evaluation of the Electrical portion of the project to insure compliance with the Ontario Energy Board Expansion Guidelines. In order to meet this requirement a developer must provide during the coordination process the following: | Information | Acknowledged
-The estimated cost of the required electrical site servicing work to expand the current primary electrical system to service the proposed development for any expansion over (5) five years after electrical service has been energized.
-The estimated number of connections to the expanded system in each of the (5) five years after electrical service has been energized.
-The type of connection (residential, commercial or Industrial) and the expected amount electrical load use on an annual basis if applicable.
Planning: "A: Shipyards Master Development Agreement"
4.A1 | This block is subject to all the provisions of the Shipyards Master Development Agreement. In particular the applicant is referred to the following sections; a) Section 4.0 titled Parkland Dedication and Improvements and Other Land Conveyances (especially 4.4c) timing for park improvements and residential and commercial occupancy building permits (4.10 underground parking possibility for Park Block to west) b) Section 5.1 (a) titled Phasing; and, c) Section 8.0 titled Architectural Control. | Pascuzzo | Parkland Dedication occurred at the time of the original Shipyards Master Development Agreement The proposed development at 31 Huron Street is not required to provide any additional parkland or cash in lieu of parkland. An Architectural Design Brief was prepared by CEBRA Architects.
Planning "B: Shipyards Subdivision Agreement"
4.B2 | This block is subject to all the provisions of the Shipyards Subdivision Agreement. In particular the applicant is referred to the following sections; a) Section 45.8 titled Urban Design Guidelines and Architectural Design Guidelines; b) Section 45.15 titled Zoning Prior to Site Plan Approval, etc.; c) Section 45.16 Road Improvements; d) Section 45.17 Parking Garage; e) Section 45.28 titled Shipyards Master Development Agreement - Application; f) Section 45.35 titled Warning and Notice Clauses; g) Section 45.40 titled Shoreline Works; and h) Section 45.43 titled Protection of Heritage Attributes on Adjacent Lands. | Pascuzzo | The Shipyards Subdivision Agreement was reviewed (See PJR). The proposed ZBLA and Site Plan have considered the applicable wording of the Subdivision Agreement.
4.B3 | Coordination of the proposed entrances (Side Launch Way) and perimeter landscaping elements (Heritage Drive and Side Launch Way) will be required with respect to the approved Shipyards “Streetscape Plans” prepared by The MBTW Group. Furthermore development of the land will need to be in compliance with the “The Shipyards Community Master Plan Urban Design Guidelines”. | Pascuzzo | The Site Plan includes an entrance from Heritage Drive and Side Launch Way. The Landscape Plan displays the proposed perimeter/streetscaping to be designed and installed by the Town of Collingwood.
Planning "C: Water Front Master Plan"
4.C | The block is located within the Primary Study Area of the Collingwood Waterfront Master Plan, dated November 2016, which generally supports active community living, rejuvenated public spaces, downtown vibrancy, waterfront access, the historically significant harbour, natural beauty and habitat protection. The development is expected to achieve a high quality design and will need to be reviewed in this context, with particular attention to Sections 3.5 Downtown and Shipyards (especially key initiatives 3, 5 and 6), 4.2 Updated Development Standards and 4.3 Building and Site Design Guidelines. | Pascuzzo | A review of the Waterfront Master Plan and the applicable policies was included in the PJR.
Planning "D: Heritage Adjacency"
4.D | The Huron Street “flankage" and Heritage Drive “frontage” of Block 11 is adjacent to the boundary of the Town’s Heritage Conservation District. In accordance with Section 7.2.3.3 titled Adjacent Lands, Implementation of the Cultural Heritage Policies of the Official Plan it has to be demonstrated to Council’s satisfaction that the proposed work can be undertaken in accordance with the municipality's heritage conservation policies. This shall be done at the Site Plan Control Application stage with the submission of a Heritage Impact Assessment (HIA). This HIA will be peer reviewed by the Town at the expense of the applicant. Planning Services staff note that addressing heritage adjacency does not necessarily mean imitation of heritage buildings or incorporation of heritage elements into the building design and could include consideration of contrasting design and configuration to strengthen the heritage district. Additional consultation is available on this matter at the applicant’s expense. | CEBRA Architects | CEBRA Architects prepared a Architectural Design Brief which specifically addresses the Heritage adjacency item.
Planning "E: Official Plan"
4.E1 | It is noted that the policies of the Official Plan, in its entirety, provide context within which the development proposal and associated applications must be considered and help to inform the content of the various studies required. While it is ultimately the responsibility of the applicant to review the Official Plan in its entirety, Planning Services identifies the following policies at this time to assist in this regard: General Urban Design 3.8 Urban Design, 3.8.1, 3.8.2 Residential 4.3 Development Overview, including 4.3.1 Goals and Objectives 4.3.2.2 Urban Design 4.3.2.4 General Policies Applicable to all Residential Density Designations Commercial 4.4.1 Goals (OPA#10) 4.4.2 Objectives (OPA#10) 4.4.3 General Policies 4.4.3.7 Study Requirements for Retail Developments (OPA#10) 4.4.4 Downtown Core 4.4.4.9 The Shipyards — Special Policy Area (OPA#2) (OPA #39) especially 4.4.4.9.3.1.5 (detailed below under comment #5) and 4.4.4.9.3.1.9 The Shipyards — Special Policy Area Development Standards (1.9.3 Urban Design, 1.9.4 Roads and Transportation, 1.9.5 Parking, 1.9.7 Flood Plain and Stormwater Management, etc.) Cultural Heritage Policies 7.2 Heritage Conservation 7.2.3 Implementation 8.2.1 Zoning By-law (OPA#16), including 8.2.1.1 General and 8.2.1.2 Zoning Amendments 8.2.2 Holdings By-laws 8.3 Site Plan Control Natural Hazards 3.9 Natural Hazards 3.9.1 General Objectives 3.9.2 Stormwater Management 3.9.3 Development within Flood Prone Areas Two-Zone Concept (Pretty River) 3.10 Conservation Authorities 3.12 Energy Efficiency, Air Quality and Climate Change Adaptation 3.13 Attenuation of Noise, Vibration, Odour and Noxious Emissions | CEBRA Architects + C.F. Crozier + Pascuzzo | See PJR, Architectural Design Brief, Photometrix Plan, Shadow Study, FSR+SWM, Landscape Plan
4.E2 | Below are the specific O.P. policies (4.4.9.3.1.5) dealing with the Mixed Use designation within the Shipyards. 1.5 Mixed Use 1.5.1 Permitted Uses The permitted uses shall be in accordance with Section 4.4.4.1 and 4.4.4.2, Downtown Core— Permitted Uses, of the Town of Collingwood Official Plan and the policies contained herein. Department Stores, large food supermarkets, or large floor plate retail uses shall not be permitted. The maximum gross floor area of any Retail Commercial Establishment shall generally be 465 square metres. Given the site’s unique location adjacent to the waterfront and as a logical extension of the Downtown Core, Medium Density Residential in accordance with Section 4.4.4.9.3.1.2 of this Plan, and associated accessory uses, are also permitted. The permitted commercial and residential uses may be constructed as stand-alone uses or in a mixed-use structure. Under all development scenarios, commercial uses shall be located, at grade, along the Huron Street frontage. Notwithstanding this policy, accessory residential uses may also be permitted to be located, at grade, along the Huron Street frontage such that the predominant use of the frontage is maintained for commercial use. Except as outlined herein, all residential uses located in a mixed-use building, excepting accessory uses of a residential use, shall be located above at-grade commercial uses. An accessory use to a residential use includes, but is not limited to, a ground floor waiting area, a security desk, and a utility room. Subject to the policies contained herein, a senior’s residence, retirement home and/or nursing home, be it privately or publicly owned, may be permitted. Those lands designated Mixed Use are also subject, where applicable, to the Development Standards of Section 4.4.4.9.3.1.9 of the Plan. 1.5.2 Policies The following Policies shall apply: Unit Counts Subject to the policies of Section 4.4.4.9.3.1.9.2 of the Official Plan, the residential unit count shall generally not exceed 130 units. Building Heights The height of any building shall not exceed six (6) storeys. Residential Policies The policies of Section 4.4.4.9.1.2 of the Plan shall apply to any stand-alone residential use. Buildings shall be designed and constructed in accordance with “The Shipyards — Special Policy Area Architectural Design Guidelines”. | Pascuzzo
4.E3 | Official Plan Amendment The December iteration of the plan shows a considerable amount of habitable space, indicated as a mezzanine to residential units located on the sixth storey, adjacent to rooftop mechanical. This is viewed as constituting a seventh storey and accordingly an Official Plan Amendment will be required. | Pascuzzo + CEBRA Architects | The design of the 6th storey was significantly modified from the design and elevations submitted at the preconsultation meeting. An Official Plan Amendment is not required.
F: Zoning Deferred Commercial (DC)
4.F7 | A deferred development “D” zone is used when the final zoning classification for land has yet to be established. This may occur when the Official Plan designation has set the form of development, but as no specific development application had been filed, a Council decision on the final zoning has been deferred. In this case a Deferred Commercial (DC) zone is on Block 11. A DC zone was placed on this land because although the underlining Official Plan designation contemplated mixed use commercial and residential uses. As no Site Plan Control Agreement application has been submitted appropriate implementing zoning (with appropriate exceptions) remains to be determined. Potential zones could include a Downtown Core Commercial Exception (C1-E) zone, but it is recognized that the context and uses proposed for the site will require additional consideration. We suggest that the re-zoning (and any exceptions sought) ultimately be based on the merits of the urban design of the project. This approach has been used for other Shipyards projects. | Pascuzzo | See PJR, draft ZBLA text and Schedule A
4.F7.1 | Zoning conformity, including Section 4.0 titled General Provisions and Section 5.0 titled Parking and Loading Provisions, will be fully examined with the future application submissions. A delivery space has not yet been indicated on the development concept drawings. | Pascuzzo | See PJR, draft ZBLA text and Schedule A, Site Plan and Site Statistics prepared by Streetcar. 1 internal Delivery space was included in the site plan.
4.F7.2 | Required parking for the development is calculated as 179 spaces — 143 for the residential component and 36 for the ground floor commercial component. Parking for the commercial units has been based on 3/100 m2 GFA. Parking for the disabled will be required as per the Accessibility for Ontarians with Disabilities Act, O-Reg. 191/11, Subsection 80.32. As per section 5.15 Parking Space Requirements, it is noted that parking for commercial uses can generally range from about 2 spaces per 100 m2 GFA (Gross Floor Area) to 8 spaces per 100m2 GFA. Gross Floor Area (in this case) is defined as, “...the aggregate sum of all floor areas and mezzanines, measured from the exterior faces of exterior walls, or from the centre of common walls, but shall not include any space used for storage, mechanical rooms, common halls, stairwells, private kitchens, washrooms and garages.” Accordingly, the commercial uses within the proposed building will need to be clarified where possible to assist in refining calculations for required parking, delivery and loading spaces. Mezzanine areas, if intended as part of the commercial uses, will need to be included in floor area calculations. | Pascuzzo | See PJR, Site Plan and Site statistics prepared by Streetcar
4.F7.3 | As per Section 5.3, Entrance Widths, the entrance widths for the proposal will need to be a minimum of 7.5 metres (measured at property line). | Pascuzzo | See Site Plan prepared by Streetcar (entrances are 7.5 m)
4.F7.4 | A detailed site development concept is needed to ensure that zone provisions are appropriately drafted to support the achievement of high quality design. | Pascuzzo/ Streetcar/ Architect | See Site Plan prepared by Streetcar, see also PJR and draft ZBLA (text and Schedule A)
4.F7.5 | A Holding (H) provision will be required as part of the Zoning by-law Amendment to address water treatment plant capacity issues identified by the Water Department. | Pascuzzo | As per previous correspondence with Town staff the proposed ZBLA will not require a holding symbol as the intent is to obtain site plan approval currently with the ZBLA and a building permit shortly after.
G: Urban Design Manual
4.G8 | The development proposal is required to conform with the Town’s Urban Design Manual (UDM) to ensure that it is generally configured and designed to achieve a high quality design and be integrated and compatible with the surrounding area, including buffering. Accordingly, UDM Sections dealing with Site Character and Context (1), Site Layout (6), Buildings (7), Active Transportation (8) and Landscaping and Public Spaces (10) are of particular importance. Landscape plans, elevations, engineering and general details such as garbage enclosure and snow storage details etc. are required along with the standard site plan requirements. The UDM can be accessed at the following link: https://www.coIIinqwood.ca/sites/default/files/docs/town-services/coIIinqwood-urban- design-manual.pdf. Some specific provisions within Sections 1, 6, 7, 8 and 10 are flagged at this time to aid in achieving a quality urban design. *CFCA Addition - Refer to Issued Comments for list of Flagged Provisions" | Streetcar/ Architect | See Site Plan, Achitectural Design Brief, Renderings, elevations, floor plans
4.G8.a | The form and massing of the building will need to be sensitive to the requirements for mixed-use commercial- residential uses on the site and in relation to adjacent and surrounding uses, including such important considerations as heritage adjacency and relation to the downtown and the context of the Shipyards and waterfront. Consideration should be given to limiting the height of the building immediately adjacent to the street frontages; | Streetcar/ Architect | See renderings
4.G8.b | The building will need to comply with the 45 degree angular plane and/or step back provisions of the UDM; | Streetcar/ Architect | See elevations. The building complies to the 45 degree angular plane from centerline of road.
4.G8.c | Commercial space should be extended to a greater extent around the ground floor of the building to also front onto the adjacent park block; | Streetcar/ Architect | There is no requirement for the commercial to directly front onto the park. Huron St façade is completely flanked by commercial as per the requirement of the OP.
4.G8.d | The building will need to differentiate between the commercial uses on the ground floor of the building and be clearly oriented and activated to Huron Street and the Park Block; | Streetcar/ Architect | See site plan, renderings, Architectural Design Brief
4.G8.e | An appropriate interface/buffer between the building and the adjacent Park Block is required. A zero lot line setback is insufficient. Public-private transitions will need to be addressed appropriately throughout the site; | Streetcar/ Architect | See renderings, Landscape Plan, Site Plan, Architectural Design Brief. The setback from the west side of the building ranges from 0 m to 5 m+.
4.G8.f | Enhanced landscaping will be required adjacent to Side launch Way and Heritage Drive. Surface parking will likely need to be reduced; | Streetcar/ Architect | See Site Plan. Surface parking was reduced. See Landscape Plan
4.G8.g | To ensure appropriate landscaping, buffering and some outdoor amenity area, additional underground parking may need to be considered, including a second level of parking and/or use of the park block; | Streetcar/ Architect | Second Level of underground parking was included.
4.G8.h | Provision of surface parking is recognized as being an important consideration for the viability of the ground floor commercial aspect of the proposal; | Streetcar/ Architect | See Site Plan, specifically 32 ground floor commercial parking spaces
4.G8.i | An above ground/covered parking structure may offer opportunities to enhance aesthetics/buffering and provide outdoor amenity space; | Streetcar/ Architect | Second Level of underground parking was included.
4.G8.j | Access to the underground parking should be relocated internal to the site to avoid conflicts with pedestrians, and to reduce the number of entrances onto Side Launch; | Streetcar/ Architect | See Site Plan. Entrance to underground parking was moved internal to the site.
4.G8.k | Provision and adequacy of amenity space needs to be explored in greater detail. Typically residential apartments require common outdoor amenity space as well as children's play facilities. As noted above, flexibility exists around this aspect of the development proposal given adjacency to parkland, incorporation of amenity space within/on top of the building, as well as landscaping and potential design considerations with the parking area. | Streetcar/ Architect | See Site Plan, PJR, Landscape Plan, Architectural renderings. Specifically that the combined amenity space between the outdoor landscaped open space and balconies.
4.G8.l | Snow storage areas should be identified and/or management of snow should be addressed given site constraints and prohibitions of placement on landscaping. | Streetcar/ Architect | On-site snow storage is not required as an on site melting/drainage system will be incorporated into the design.
4.G8.m | Utility box at corner presents challenges in terms of streetscape aesthetic and usability of landscaped open space. | Streetcar/ Architect | See Landscape Plan.
H Studies Required
4.H9 | Studies/Reports/Documents (additional studies may be specified elsewhere in department or agency comments and must form part of a complete application): • Archeological Assessment (or confirmation that it has been addressed) • Construction mobilization/communication plan (required for site plan) • Draft Zoning Bylaw Amendment • Draft Official Plan Amendment if necessary • Elevations from all sides including simplified depiction of existing and/or proposed adjacent buildings and context • Environmental Site Assessment (or confirmation that it has been addressed) • Flooding, Erosion and Slope Stability Report (with respect to flood conveyance channel issue discussed at meeting — Pretty River Flood Fringe — could be incorporated into SWM Report) • Functional Servicing Report/Plan • Geotechnical /Soil Stability Report • Heritage Impact Assessment • Hydrogeological /Hydrology Study (confirmation needed from Engineering Services on the applicability of this requirement) • Photometric/Illumination Study • Planning Justification Report (PJR), which needs to address the required applications and the planning merits of the proposal within the context of the site and the surrounding area, including consideration of Provincial, County and Municipal planning and urban design policies, provisions and standards as well as the content of other applicable Council approved Town documents (e.g., Waterfront Master Plan, Community-Based Strategic Plan, Parks Recreation and Culture Master Plan, etc.). Additionally, drawings and the PJR should reference the opportunity for the deep water cooling system. The applicant and Town need to hold discussions on the design and implementation of this option prior to filing the application. | Information | Stage 1+2 - Archaeological Study - Archaeological Services Inc. (August 2002) Construction Mobilization plan - Drafted by C.F. Crozier Draft ZBLA - Paxuzzo Planning Elevations - Streetcar Developments ESA - RSC 45467 Flooding, Erosion, Slope Stability Report, FSR - see Crozier Servicing and SWM Report Geotechnical - Terr probe - July 2020 Heritage Impact Assessment - CEBRA Architectural Design Brief Hydrogeological - Terraprobe August 2020 Photometric - Crozier July 2020 PJR - Pascuzzo July 2020 Noise - HGC Engineering July 2020 Survey - Paul Thomsen OLS Shadow Analysis - CEBRA Architects Site Statistics - Streetcar Site Plan - Streetcar SWM - C.F. Crozier & Associates July 2020 Traffic Impact - C.F. Crozier & Associates Urban Design - Architectural Design Brief - CEBRA July 2020
4.H9 (cont.) | • Noise Study • Property Survey • Shadow Analysis. • Site statistics including but not limited to existing and proposed height, parking, setback, coverage, landscape open space • Site Plan concept, dimensioned and including depiction of adjacent lots, any easements, all constraint lines relevant to environmental and any other constraints • Stormwater Management Report • Traffic Impact Study • Urban Design Report* including updated development standards and community/site design and architectural design guidelines. Given the importance and complexity of this requirement, a Terms of Reference will need to be provided to the Town for review and approval prior to the Urban Design Report proceeding. The Urban Design Report will also be subject to peer review. Costs associated to prepare and approve a terms of reference as specified and municipal peer review to evaluate the proposal and supporting submissions shall be borne by the applicant. The Urban Design Report which will demonstrate conformity with the Town’s Official Plan policies, Urban Design Manual (UDM), various Shipyards urban and architectural design guidelines, the Waterfront Master Plan (WMP) and Heritage adjacency considerations to ensure that it is configured and designed to achieve a high quality design in keeping with the character of the municipality and be integrated and compatible with the surrounding area. Special consideration of the urban design for the site is also required given other development opportunities in the area and their cumulative impacts for the Side Launch Way, Heritage Drive, and Huron Street streetscapes, Park Block interface and the Collingwood trail system and waterfront vistas (e.g., FRAM, Perfect World, Park Block). Updated development standards and design guidelines for 31 Huron Street and the other development proposals are expected as an outcome of this work. • Studies required by Section 4.4.3.7 of the Official Plan (Commercial) Project terms of reference for the required studies, where indicated, indicating content and quality standard for the information contained therein are required to be completed by the applicant, sent in to Town staff and approved prior to the conclusion of the pre-consultation process in order to enable an assessment of the completeness of any formal application. | Information
I: Site Plan Control Agreement
4.I10 | The development will be required to proceed through the Town’s Site Plan Control Agreement process. | Information | Acknowledged
4.I11 | Parking for the disabled will be required as per the Accessibility for Ontarians with Disabilities Act, O-Reg. 191/11, Subsection 80.32. | Information | See Site Statistics and Floor Plans - 4 Accessible Spaces are required/proposed
4.I12 | All final drawings and plans (including colour copies of building elevations) to be submitted digitally along with 5 sets of the paper hard copies. Planning Services requires building elevations, including coloured renderings, in digital format for review and to prepare the Town staff PowerPoint presentation. All final plans are required one week prior to the Staff Report being presented to the Development & Operations Services standing committee. | Information | Acknowledged
4.I13 | A rectangular space for the “APPROVED” stamp is to be added to the bottom right hand corner of each drawing (dimension 3.5 in x 2 in.) | Information | Acknowledged
4.I14 | Applicant is to provide the name(s) of who(m) has the Authority to bind the Corporation (or the Owner) as well as their title (if any) for preparation of the Agreement. | Streetcar | Les Mallins, President
4.I15 | If there is, or will be, a mortgage on the property the applicant will provide the necessary information including the signing official name and title, any mortgagee, the mortgage amount and the registration numbers for preparation of the Agreement. Mortgagee will need to sign the Agreement and agree to postpone their registered mortgage in priority to the Town’s Agreement being first on title. We will also need any mortgagee contact information for the Agreement. | Streetcar
4.I16 | Applicant will provide a Letter of Credit or cash for 100% of site works and landscaping once the updated cost estimates have been approved by the Town. The submission of securities is required prior to Agreement being forwarded to Council for authorization. | Streetcar/ CFCA | Acknowledged. Securities estimate has been included with first submission.
4.I17 | The applicant will provide proof of an insurance policy in the amount of $5,000,000.00 naming the Corporation of the Town of Collingwood as insured so as to indemnify the Town. Submission of insurance is required prior to Agreement being forwarded to Council for authorization. | Streetcar
4.I18 | Applicant shall pay a $5,000.00 deposit fee to be applied to the legal and administrative costs for the preparation of the Agreement. This deposit is required prior to Agreement being forwarded to Council for authorization. The unspent balance of this deposit is returned once the file is closed. | Streetcar
4.I19 | The applicant shall pay a Public Works & Engineering Department administration fee (non refundable) that will be 3% of the total for the site works (site works & landscaping combined) cost estimates. | Streetcar/ CFCA | Acknowledged. Securities estimate has been included with first submission.
4.I20 | The Applicant is responsible to provide written clearance from external agencies that all concerns and issues have been cleared. | Streetcar
4.I21 | The applicant is responsible to pay any additional costs and expenses regarding this application that shall be determined by staff of Town. | Information | Acknowledged
J: Application Fees
4.J | Zoning By-law Amendment $4,260.00 ($3,220.00 flat fee plus a $1,040.00 contingency fee) or Official Plan & Zoning By-law Amendment: $14,150.00 {6f I, 030.00 flat fee + $3,120.00 contingency fee) Site Plan Application $7,280.00 ($5,200.00 + $2,080.00 contingency fee) Condominium Exemption Application $2,410.00 ($1,890.00+$520.00 contingency fee) | Information | $13,950.00 Submitted on July 31, 2020 ZBLA- $3200.00 + $1040) Site Plan ($5200 + $2800) Condo Exemption ($1890 + $520)
Garbage Collection Comments (County of Simcoe)
5.01 | Thank you for circulating the County on the proposed residential development at 31 Huron Street. County Planning staff note that the County does not provide waste collection services to multi-residential properties or buildings with 6 or more dwelling units. The proposed development is for 114 residential apartment units. Therefore, the owner will be responsible for arranging private waste collection for this development. Please circulate the County on all future notices for this application. If you have any questions or comments please feel free to contact me. | Streetcar | Private waste collection acknowledged
NVCA Comments
6.01 | A very small portion of the property is regulated due to being within 120 metres of a wetland (see below). I note that only underground parking and above ground parl‹ing is located on the regulated portion. Our guidelines state the following: 4.7.4.2.2 Area Between 30 Metres to 120 Metres of the Wetland 1) In general, development may be permitted in the area between 30 metres to 120 metres of a wetland if the interference on the hydrologic functions of the wetland has been deemed to be acceptable by the conservation authority; In speaking with our planning ecologist, we do not see the benefit of requiring an EIS to confirm that the functions of the wetland are not impacted given the proximity to the wetland itself and the fact that there already is development between this property and the wetland. A permit and/or clearance letter would be required. I am not sure of the benefit of the developer going through a full NVCA review process and would look‹ to management for further direction. | Information | Acknowledged.
Town Of Collingwood Engineering Comments -
7.01 | The underground parking ramp should be accessed internally to the development. Our preference is not for a separate entrance. The concern is that there are two pedestrian sidewalks ultimately to be constructed on Side Launch Way (3.0m bike sidewalk, and 1.5m pedestrian sidewalk), so there may be conflicts between pedestrians and vehicular movements. | Streetcar/ Architect | See Site Plan, Floor Plans. Entrance to underground parking was internalized to the site.
7.02 | We note that this site is located within NVCA jurisdictional boundaries and will be subject to their review and comments. | Information | Acknowledged
7.03 | The design will need to address the impacts from the Pretty River Spill Zone to the satisfaction of the Town and NVCA. | CFCA | The Servicing and Stormwater Management Report submitted with First Submission discuses how the Pretty River Spill has been addressed.
7.04 | A Stormwater Management Implementation Report will need to be submitted on behalf of this development addressing post to pre quantity control measures and quality measures, if required. The report should review the recommendations and analysis within the 2008 Shipyards Master SWM Implementation Report, prepared by Crozier & Associates for the Shipyards Development. | CFCA | The proposed development is connecting to existing storm sewers which outlet directly to Georgian Bay, as such quantity control is not required. This is in conformance with the overall Shipyards servicing strategy. Refer to the Servicing and Stormwater Management Report submitted with First Submission for further discussion.
7.05 | A functional servicing report should be provided to confirm development flows and that existing services have adequate capacity for sanitary sewage, domestic water demand, fire flows, and utility servicing. | CFCA | Please see the Servicing and Stormwater Management Report submitted with First Submission.
7.06 | Sanitary servicing and downstream capacity to be confirmed through the Town’s sanitary model. Modeling work will be conducted by the Town’s consultant at the developer's expense. The engineering consultant is to provide notice when the Town should initiate this review. | CFCA | Sanitary sewer design sheets, and sanitary flows have been included in the Servicing and Stormwater Management Report. The Town can proceed with completing the sanitary modeling.
7.07 | Entrance widths for the driveways are to be a minimum 7.5m wide. | Streetcar/ Architect
7.08 | A Traffic Impact Study (TIS) should be submitted on behalf of the proposed development. The report will need to review internal traffic circulation, sight distances, and impacts to adjacent municipal roadways & intersections. The report should refer to the 2019 Transportation Study for the Town of Collingwood. | CFCA | A Traffic Opinion Letter as been included as part of the current submission.
7.09 | Terms of Reference for the TIS to be confirmed with the Town of Collingwood prior to submission | CFCA | A Traffic Opinion Letter as been included as part of the current submission.
7.1 | The Town may need confirmation that the land dedication to the Owner, in the south-east corner of the development occurred as part of the subdivision agreement registration. The Town will review this internally. |  | Acknowledged
7.11 | The Town and the Owner will need to review the Master Development Agreement with the overall Shipyards Developer. The agreement (under section 4.4.c.) has verbiage that base park improvements on the vacant block to the west are to be completed prior to issuance of occupancy for this block. The Town will review the agreement further in this regard. | CFCA | Acknowledged
7.12 | Record drawings can be provided under separate cover, at the request of the engineering consultants. | CFCA | CFCA has the most current As Recorded Drawings on file and has designed the subject development in accordance with these.
7.13 | The type of shoring walls and hoarding proposed for the underground parking garage will need to be submitted, to confirm if any encroachment into the Town right-of-way is proposed. | CFCA/ Terraprobe | This information will be provided as it becomes available during the project progression.
7.14 | A construction management plan is to be submitted before execution of the site plan agreement. The scope of this report is identified in the attached document on the last page. | CFCA | Please see the submitted construction management plan submitted as part of the current submission. This plan will be updated as more construction information becomes available as the project progresses.
7.15 | Cost of construction securities for the development will need to be provided for asphalt, granular materials, concrete curbs & sidewalks, sediment & erosion controls, landscaping quantities, all watermain infrastructure and all external works. A 3% Engineering Review fee is based on security costs or a minimum of $4,000.00. | CFCA | Acknowledged. CFCA has completed securities calculations with the First Submission.
7.16 | Studies required to be submitted for the proposed development: • Functional Servicing Report • Stormwater Management Report • Traffic Impact Study • Geotechnical Investigation • Photometric Plan (for Site Plan Application) • Construction Management Plan (for Site Plan Application) | Information | Acknowledged. Included with First Submission.
Environmental Services
18.01 | The subject property has a service located off Side Launch Way, as shown in the figure below. The size of the service should be verified by the developer. The existing service can be used for the converted use, provided the service size meets water demand needs (including fire) and the water department is in agreement the service is suitable for re-use. The proponent should confirm the size and condition of the service prior to planning for re- use. If the service is deemed not suitable for reuse, the Water Department will disconnect the service at the main, at the owner’s cost, and a new service will need to be installed, at the owner’s cost. | CFCA | The existing water service to the property is a 150 mm dia. service that connects to a 150mm dia. watermain along Side Launch Way. As this watermain was sized to service the Shipyards Development including the Subject Property, we assumed the service size was sufficient. Please advise if the service sizing is still required.
18.02 | The Water Treatment Plant is currently operating at 82% capacity. The Town has initiated the water treatment plant (WTP) expansion process, however planning, design and construction will take 5 years. The Town requires a holding “H” to be applied to the property with respect to available water treatment plant capacity and any other matters deemed appropriate by the Town of Collingwood. | CFCA | See response to comment 4.F7.5
18.03 | A Functional Servicing Report should be completed detailing the required water demand calculations and speak to fire protection requirements for the building. A site servicing plan should be submitted showing the water servicing plan. Fire and domestic service must be separated at the property line with isolation valves. Please provide a drawing demonstrating 45m hydrant spacing radiuses. | CFCA | Domestic water demand and fire flow calculations have been included as part of the Servicing and Stormwater Management Report. Fire and domestic services have been separated as requested, please see the submission drawings for details. As the boundary road network was constructed as part of the Shipyards Development to Town of Collingwood Standards, we assumed that sufficient hydrant spacing has been provided. In addition, an existing hydrant is located adjacent to the proposed building along Side Launch Way. Please advise if this drawing is still required.
18.04 | The proposed water system will need to be added to the Town water model to ensure adequate water flow and pressure for all demands including fire. In order to do this the Town Water Department will require proposed water demands and digital plans (AutoCAD) showing the watermain layout and topographic information. This information will be forwarded to our consultants for modeling. This work is to be carried out at the developer’s cost. | CFCA | The Subject Development is proposed to connect to the existing 150mm dia. watermain stub, is digital AutoCAD required to complete the Town Water Department Model?
18.05 | As a general principal each property shall have one service and one meter. Additional meters can be added internally to measure the water use for each apartment if required. However, the municipality will have one meter, connected to one water bill. This note should be added to the engineered drawings and included on the site plan agreement. | CFCA | Acknowledged, water meter will be provided within the building.
18.06 | It should be noted that all Town water mains and services are to be constructed in accordance with the Town Water Department standards. That is ductile iron water mains and copper services. | CFCA | Acknowledged.
18.07 | A construction water fee in accordance with the current fees and charges Bylaw is due when a building permit is obtained. | Information | Acknowledged
18.08 | Any connections to the Town water system are to be installed by the Town of Collingwood Water department by live tap, at the Developer’s expense. | CFCA | Acknowledged
18.09 | Are any irrigation systems planned to be on the premises? Any proposed irrigation system connections should be identified on the design drawings. Service can be separate with dedicated meter and backflow device. | CFCA | Irrigation systems are not proposed.
18.1 | The proposed facilities will require premise protection backflow prevention devices as per CSA B64.10-11/B64.10.1-11, OBC and the Towns Backflow Prevention By-law 2017-056. Required backflow prevention devices for dedicated fire lines will be determined by the premises hazard classification, and will be equal to the level of protection required for the domestic service. It should be noted that the device will require annual testing, with all associated costs the responsibility of the owner. A site survey will be required to be submitted to the backflow prevention officer at the time when a building permit application is applied for. The site survey will determine the sites hazard classification and type of premises protection required to be installed. More information, as well as a list of Qualified Contractors can be found at http://www.coIlinowood.ca/BackflowPrevention. | CFCA | Acknowledged, back flow preventers will be provided withing the building.